## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 199155
Peak Shortage (MW) | 25
Energy Met (MU) | 4623
Energy Shortage (MU) | 0.1755
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 205159