## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 202269
Peak Shortage (MW) | 1337
Energy Met (MU) | 4750.88
Energy Shortage (MU) | 9.743
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 213926