## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 211262
Peak Shortage (MW) | 4006
Energy Met (MU) | 4901.86
Energy Shortage (MU) | 21.4882
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217271