## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 213780
Peak Shortage (MW) | 1376
Energy Met (MU) | 5058.47
Energy Shortage (MU) | 16.4213
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 227048