## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 207827
Peak Shortage (MW) | 245
Energy Met (MU) | 4930.25
Energy Shortage (MU) | 1.939
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 216244