## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 218002
Peak Shortage (MW) | 2020
Energy Met (MU) | 5105.24
Energy Shortage (MU) | 11.92
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 226855