## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 210826
Peak Shortage (MW) | 10
Energy Met (MU) | 4974.1
Energy Shortage (MU) | 1.35
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 218867