## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 192171
Peak Shortage (MW) | 96
Energy Met (MU) | 4252.67
Energy Shortage (MU) | 0.3752
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215044