## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 192407
Peak Shortage (MW) | 770
Energy Met (MU) | 4357.81
Energy Shortage (MU) | 1.5872
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 219312