## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 198156
Peak Shortage (MW) | 423
Energy Met (MU) | 4491.46
Energy Shortage (MU) | 0.64069
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 227199