## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 196655
Peak Shortage (MW) | 1348
Energy Met (MU) | 4565.02
Energy Shortage (MU) | 3.1123
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 230846