## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 191482
Peak Shortage (MW) | 1305
Energy Met (MU) | 4474.21
Energy Shortage (MU) | 5.1136
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 226006