## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 195994
Peak Shortage (MW) | 553
Energy Met (MU) | 4517.76
Energy Shortage (MU) | 1.17
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 228085