## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 199772
Peak Shortage (MW) | 447
Energy Met (MU) | 4665.13
Energy Shortage (MU) | 1.64
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 234950