## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 203069
Peak Shortage (MW) | 278
Energy Met (MU) | 4540.44
Energy Shortage (MU) | 0.686
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 209673