## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 186151
Peak Shortage (MW) | 135
Energy Met (MU) | 4459.19
Energy Shortage (MU) | 0.9527
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 224441