## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 197853
Peak Shortage (MW) | 414
Energy Met (MU) | 4675.51
Energy Shortage (MU) | 2.676
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 232077