## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 199776
Peak Shortage (MW) | 26
Energy Met (MU) | 4728.51
Energy Shortage (MU) | 0.18
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 238140