## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 200179
Peak Shortage (MW) | 33
Energy Met (MU) | 4710.28
Energy Shortage (MU) | 0.19
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 233860