## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 199299
Peak Shortage (MW) | 755
Energy Met (MU) | 4688.7
Energy Shortage (MU) | 1.19
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 227682