## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 201864
Peak Shortage (MW) | 269
Energy Met (MU) | 4716.33
Energy Shortage (MU) | 0.706
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 229873