## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 199244
Peak Shortage (MW) | 458
Energy Met (MU) | 4700.83
Energy Shortage (MU) | 1.86
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 223488