## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 197865
Peak Shortage (MW) | 15
Energy Met (MU) | 4766.2
Energy Shortage (MU) | 0.387
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 223311