## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 209188.36
Peak Shortage (MW) | 177
Energy Met (MU) | 4904.12
Energy Shortage (MU) | 0.63
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 223113