## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 215735
Peak Shortage (MW) | 221
Energy Met (MU) | 4972.98
Energy Shortage (MU) | 2.61
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 224229