## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 219508
Peak Shortage (MW) | 140
Energy Met (MU) | 4895.86
Energy Shortage (MU) | 1.7557
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 220282