## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 221086
Peak Shortage (MW) | 1768
Energy Met (MU) | 5173.71
Energy Shortage (MU) | 23.8595
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 227765