## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 223797
Peak Shortage (MW) | 761
Energy Met (MU) | 5293.06
Energy Shortage (MU) | 7.1369
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 235190