## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 223500
Peak Shortage (MW) | 53
Energy Met (MU) | 5072.11
Energy Shortage (MU) | 1.47
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 230007