## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 221290
Peak Shortage (MW) | 190
Energy Met (MU) | 5141.69
Energy Shortage (MU) | 1.7
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 230993