## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 219178
Peak Shortage (MW) | 271
Energy Met (MU) | 5043.44
Energy Shortage (MU) | 2.51
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 226936