## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 217174
Peak Shortage (MW) | 322
Energy Met (MU) | 4865.53
Energy Shortage (MU) | 5.72
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217425