## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 215316
Peak Shortage (MW) | 380
Energy Met (MU) | 4955.39
Energy Shortage (MU) | 1.534
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215366