## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 217651
Peak Shortage (MW) | 110
Energy Met (MU) | 5038.02
Energy Shortage (MU) | 1.3785
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 218386