## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 219280
Peak Shortage (MW) | 1493
Energy Met (MU) | 5060.42
Energy Shortage (MU) | 6.99
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 222614