## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 223392
Peak Shortage (MW) | 666
Energy Met (MU) | 5094.41
Energy Shortage (MU) | 2.9
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 224669