## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 220255
Peak Shortage (MW) | 80
Energy Met (MU) | 5061.82
Energy Shortage (MU) | 0.62
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 221879