## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 217839
Peak Shortage (MW) | 50
Energy Met (MU) | 4964.31
Energy Shortage (MU) | 0.28
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 219062