## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 216875
Peak Shortage (MW) | 2007
Energy Met (MU) | 4921.08
Energy Shortage (MU) | 9.708
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 216645