## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 221271
Peak Shortage (MW) | 155
Energy Met (MU) | 4996.82
Energy Shortage (MU) | 0.73
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 223765